{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":47,"n_cols":6,"rows_kept":47,"merged":[[0,0,0,5],[2,1,2,2],[18,1,18,2],[33,1,33,2]],"flags":["formulas_cached_only"]}
["体育公园电源监控、电气火灾监控系统清单"]
["序号","材料（设备）名称","规格型号","工 程量","单位","含税单价"]
["一","健身馆、游泳馆、地下商业"]
[1,"云物联智慧设备箱 挂壁式电气火灾监控主机","WEFPSG512E",1,"台"]
[2,"云物联智慧设备箱 挂壁式电气火灾监控主机","WEFPSG128E",1,"台"]
[3,"云物联智慧设备箱 柜机式电气火灾监控主机","WEFPSG768E",1,"台"]
[4,"云物联智慧设备箱 挂壁式消防设备电源监控器","WPFPSG128E",2,"台"]
[5,"云物联管理控制箱","B0XSPD180",3,"台"]
[6,"云物联管理控制箱","B0XSPD276",1,"台"]
[7,"云物联监控主机","WGEC",4,"台"]
[8,"智能浪涌监控软件",null,4,"套"]
[9,"电气火灾监控","WEFPTZ315RI",25,"个"]
[10,"电气火灾监控","WEFPTZ63R",106,"个"]
[11,"电气火灾监控","WEFPTZ200RD",16,"个"]
[12,"电气火灾监控","WEFPTZ100R",38,"个"]
[13,"电气火灾监控","WEFPTZ800RI",13,"个"]
[14,"消防设备电源监控","WPFPM3U2",68,"个"]
[15,"故障电弧探测器","WAFD20",210,"个"]
[null,"体育场"]
[1,"消防设备电源监控主机","WPFPS-G",1,"台"]
[2,"消防设备电源监控","WPFPM3U2",35,"个"]
[3,"电源中继器","WPFPA",1,"个"]
[4,"电气火灾监控主机","WEFPSG768",1,"台"]
[5,"电气火灾监控探测器","WEFPT-63ZGD",43,"个"]
[6,"电气火灾监控探测器","WEFPT-100ZGD",36,"个"]
[7,"电气火灾监控探测器","WEFPT-200ZGD",26,"个"]
[8,"电气火灾监控探测器","WEFPT-315ZGD",13,"个"]
[9,"电气火灾监控探测器","WEFPT-400ZGD",10,"个"]
[10,"温度探头","TG0922",128,"个"]
[11,"故障电孤探测器","WAFD20",440,"个"]
[12,"SPMS防雷监控服务器","BOXSPD180",1,"台"]
[13,"SPD监控主机","WGEC",1,"台"]
[14,"SPMS防雷监控软件",null,1,"套"]
["三","体育馆"]
[1,"消防设备电源传感器","WPFPM3U2",124,"个"]
[2,"电源中继器","WPFPA",16,"个"]
[3,"电气火灾监控探测器","WEFPT-63ZGD",123,"个"]
[4,"电气火灾监控探测器","WEFPT-100ZGD",47,"个"]
[5,"电气火灾监控探测器","WEFPT-200ZGD",24,"个"]
[6,"电气火灾监控探测器","WEFPT-315ZGD",18,"个"]
[7,"电气火灾监控探测器","WEFPT-400ZGD",32,"个"]
[8,"电气火灾监控探测器","WEFPT-800ZGD",8,"个"]
[9,"温度探头","TG0922",204,"个"]
[10,"电气火灾监控单元","WEFPJ8C",30,"个"]
[11,"电气火灾监控单元","WEFPJ16C",36,"个"]
[12,"电气火灾监控单元","WEFPJ32C",19,"个"]
[13,"故障电弧探测器","WAFD20",406,"个"]